## Forms List
Forms/Data Sources Used to Develop Standard Data Format (Revision 6.4 - 10/31/2003)
State | Form Title
VT | Vermont Monthly Water System Operations Report for Filtered Surface Water Systems
VT | Vermont Monthly Water System Operations Report for Groundwater Sources and Systems Purchasing Water
VT | Endyne Laboratory Report
VT | Specrum Environmental Research Laboratory - Laboratory Report
VT | Northwest Environmental Water Lab - Laboratory Report
VT | SciTest - Laboratory Report
VT | Southern Analytical - Laboratory Report
VT | Aquacheck - Laboratory Report
VT | Vermont Dept of Health Lab - Laboratory Report
RI | RIDOH - Lead & Copper
RI | RIDOH - VOC
RI | RIDOH - VOC - TTHM
RI | RIDOH - VOC - HAA5
RI | RIDOH - Radiological Contaminents
RI | RIDOH - IOC
RI | RIDOH - Microbiological
RI | RIDOH - Synthetic Organic Contaminents
RI | State of Connecticut - Laboratory Report
RI | Accutest - Laboratory Report
RI | Premier Laboratory - Laboratory Report
RI | RI Analytical Laboratories - Laboratory Report
NH | Results of Laboratory Analysis
NH | ESS Laboratory - Laboratory Report Method 524.2
NH | ESS Laboratory - Laboratory Report Total Metals
NH | NHDES - TTHM & HAA5 Monitoring Form
NH | D/DBP Quarterly Report for Surface Water Systems Serving > 10000 people
NH | D/DBP Quarterly Report for Groundwater Systems Using Chlorine Disinfection
NH | D/DBP Quarterly Report for Surface Water Systems Serving < 10000 people
NH | Water Supply Engineering Bureau - Analysis Request Form
NH | Analytical Requirements for Community Public Water Systems
NH | Distribution & Entry Point Water Quality Parameters
NH | Lead & Copper Tap Samples
NH | Analysis Request Form - Chemical
NH | Analysis Request Form - Bacteria
NH | Analysis Request Form - Lead & Copper
NH | Analysis Request Form - Water Quality Parameters
NH | Monthly Operating Report for Filtered Surface Water Systems
NH | Monthly Operating Report for Unfiltered Surface Water Systems
NH | NHDES - Results of Laboratory Analysis
NJ | Monthly Coliform Analysis Input Form
NJ | Quarterly Coliform Analysis Input Form
NJ | VOC - 502.2
NJ | VOC - 524.2
NJ | IOC
NJ | Copper
NJ | Asbestos
NJ | Iron & Manganese
NJ | Nitrate / Nitrite
NJ | Pesticides, Herbicides and other Organics
NJ | Secondary
NJ | Surface Water Treatment Rule Monitoring
NJ | Quarterly Total Trihalomethane (THM4) Report
NJ | QC Data for Hazardous Contaminant Analysis
NJ | Chlorite and Chlorine Dioxide Report
NJ | Disinfectant Residuals Reporting Form
NJ | Disinfection Byproduct Precursors Compliance Report
NJ | Quarterly Haloacetic Acids Five Report (HAA5)
NJ | IESWTR Turbidity Report
NJ | Individual Filter Exception Report
NJ | Water Quality Parameters Analysis Input Form - Lead & Copper Rule
ME | Maine HETL LITS+ Field Descriptions
ME | DEP Data Element Dictionary
ME | SDWIS Sampling Via EDI Structure Set - Formatted File Specification
ME | MOR - Surface Water
ME | MOR - Ground Water
ME | MOR - SW and GUI filtered systems
ME | MOR - SW and GUI unfiltered systems
ME | MOR - Disinfectants and Disinfection Byproducts Rule - Large
ME | MOR - Disinfectants and Disinfection Byproducts Rule - Small
ME | MOR - Chlorine Dioxide
ME | MOR - Fluoride
ME | MOR - Special Disinfection Byproducts Rule
ME | MOR - Surface Water Treatment Rule - Unfiltered Systems with Multiple Disinfectants
ME | MOR - Surface Water Treatment Rule - Alternative Filtration Systems
ME | Maine MOR Data Element Mapping Document

## Data Elements
Body (Revision 6.4 - 10/31/2003)
ID | Data Block | Data Field | Data Field Definition | SDWIS-State Sampling-for-EDI Field | SDWIS-State Table/Field Name | SDWIS-State Mandatory Data Field | e-DWR Schema Element | Mandatory in e-DWR schema | Lab Data Standard Element | Comment
1 | Report Identification | Laboratory Data Form Type | The form type that the laboratory submitted, for example, driking water, ground water, etc. | B_SAMPLE_CATEGORY (?) | TSASAMPL.D_CATEGORY_FLOW_CODE | Y | <Report> <LaboratoryData> <ReportIdentification> <ReportType> | N
2 |  | Resubmission Indicator | Indicator of whether the report is the resubmission. | B_REPLACEMENT_INDICATOR | TSASAMPL.REPLACEMENT_INDICATOR_CODE |  | <Report> <LaboratoryData> <ReportIdentification> <OriginalOrRevision> | N
3 |  | Monitoring Period Begin | The calendar date when the monitoring period begins. | B_MONITORING_PERIOD_START_DATE | TMNMPRD.BEGIN_DATE | Y | <Report> <LaboratoryData> <ReportIdentification> <ReportStartDate> | N
4 |  | Monitoring Period End | The calendar date when the monitoring period ends. | B_MONITORING_PERIOD_END_DATE | TMNMPRD.END_DATE | Y | <Report> <LaboratoryData> <ReportIdentification> <ReportEndDate> | N
5 |  | SubmissionComments | The additional comments on the submitted report |  |  |  | <Report> <LaboratoryData> <ReportIdentification> <FormComment> | N
6 | Certification | Certification Statement | The statement text for certifying the report. |  |  |  | <Submission> <Certification> <CertificationStatement> | N
7 |  | Certifier | Identifies the name of the person who certifies the accuracy of the submitted report. |  |  |  | <Submission> <Certification> <Certifier> | N
8 |  | Certifier Title | Certifier's title |  |  |  | <Submission> <Certification> <CertifierTitle> | N
9 |  | Certification Date | The date that the certifier certifies the report |  |  |  | <Submission> <Certification> <CertifierDate> | N
10 |  | Certifier Telephone Number | The certifier's contact phone number |  |  |  | <Submission> <Certification> <CertifierContactInfo> <TelephoneNumber> | N
11 |  | Certifier Telephone Extension | The certifier's contact phone extension |  |  |  | <Submission> <Certification> <CertifierContactInfo> <PhoneExtension> | N
12 |  | Certification Number | the certification number that is assigned to the certifier |  |  |  | <Submission> <Certification> <CertificationNumber> | N
13 | Water System Identification | Water System ID | The unique identifier of the Water System | B_WATER_SYSTEM_NUMBER | TINWSYS.NUMBER | Y | <WaterSystemIdentification> <WaterSystemDetails> <PWSIdentifier> | Y |  | VT: Some labs don’t have WS ID.
14 |  | Water System Name | Name of Water System |  | TINWSYS.NAME | Y | <WaterSystemIdentification> <WaterSystemDetails> <SystemName> | N
15 |  | Source Type | Ground Water, Surface Water, Under Direct Influence (UDI) of Ground Water, Purchased or Consecutive Surface Water, Purchased or Consecutive Ground Water, Purchased or Consecutive Under Direct Influence (UDI) of Ground Water |  | TINWSYS.D_ST_PRIM_SRC or TINWSYS.D_FED_PRIM_SRC ? | system-generated | <WaterSystemIdentification> <WaterSystemDetails> <SourceType> | N |  | Example values as GW(Ground Water), SW (Surface Water), etc.
16 |  | Water System Location Address | Address text for water system location |  |  |  | <WaterSystemIdentification> <LocationAddress> <LocationAddressText> | N
17 |  | Water System Location City | City name of where water syste located |  |  |  | <WaterSystemIdentification> <LocationAddress> <LocalityName> | N
18 |  | Water System Location State | State name of where water system located |  |  |  | <WaterSystemIdentification> <LocationAddress> <StateName> | N
19 |  | Water System Location ZIP | Zip code of where water system located |  |  |  | <WaterSystemIdentification> <LocationAddress> <LocationZIPCode> | N
20 | Water System Facility | Water System Facility | Name of Water Treatment Plant, well, or other supplier to the water system | B_WATER_FACILITY_STATE_CODE | TINWSF.STATE_ASGN_IDENTIFICATION_CODE (in SDWIS-State, this identifies where the sample was taken) | Y (conditionally) | <WaterSystemIdentifcation> <WaterSystemDetails> <PWSFacility> <PWSFacilityIdentifier> | N |  | ** This could be supplied by State to Lab/WS for their use. Labs may not need to populate this field.
21 |  | TreatmentID | Identifying treatment ID applied to a unique source of water used by a PWS. |  |  |  | <WaterSystemDetails> <PWSFacility> <TreatmentInformation> <TreatmentID> | N
22 |  | TreatmentObjective | Identifying treatment objective applied to a unique source of water used by a PWS. |  |  |  | <WaterSystemDetails> <PWSFacility> <TreatmentInformation> <TreatmentObjective> | N
23 |  | TreatmentProcess | Identifying treatment process and processes applied to a unique source of water used by a PWS. |  |  |  | <WaterSystemDetails> <PWSFacility> <TreatmentInformation> <TreatmentProcess> | N
24 |  | InnovativeTreatmentIndicator | Identifies if innovative treatment is used for this PWS |  |  |  | <WaterSystemDetails> <PWSFacility> <TreatmentInformation> <InnovativeTreatmentIndicator> | N
25 |  | InnovativeTreatmentComment | Provids comments to characterize the innovative treatment used at this PWS. |  | TINTROBJ, TINTRPRO ? |  | <WaterSystemDetails> <PWSFacility> <TreatmentInformation> <InnovativeTreatmentComment> | N |  | VT: ‘no’- treatment info only useful for those constituents that depend on the treatment information, not needed here. Only useful if pre-populated.
26 | Sampling Site Identification | Sampling Point ID | Sampling point identification | B_SAMPLING_POINT | TSASMPPT.IDENTIFICATION_CODE | Y (conditionally) | <MonitoringLocation> <LocationIdentification> <LocationIdentifier> | N | Sample Station Identifier
27 |  | Sampling Point Name | sampling point name | B_SAMPLING_LOCATION | TSASMPPT.DESCRIPTION_TEXT | Y (conditionally) | <MonitoringLocation> <LocationIdentification> <MonitoringSiteDescription> | N | Sample Station Name | Big issue regarding this field of whether or not this field should be included in the copy and paste form. BACT rules might be different
28 |  | Sampling Site Location Type | Used for Lead/Copper loc. Type: A-Lead Service Lines, B-Single Family Structures w/Copper pipe, etc… |  | TSASMPPT.LD_CD_TIER_TYP_TXT ? |  | <MonitoringLocation> <LocationIdentification> <SampleLocationType> | N | Sample Station Type Name
29 |  | Sample Point Address | The address of the sampling point. |  |  |  | <MonitoringLocation> <LocationIdentification> <SamplePointAddress> <LocationAddressText> | N
30 |  | Sample Depth | Depth of the sample taken |  |  |  | <MonitoringLocation> <LocationIdentification> <GeographicCoordinates> | N | Depth/Altitude of Sample | ME: some sample locations may be sampled at different depths.
31 |  | Unit of Meaure for Distance Code
32 |  | Repeat Sample Location Code | The location relative to the original Sampling Point at which the repeat/invalid replacement/confirmation sample was taken. (Used for SDWIS/State.) | B_REPEAT_LOCATION_CODE | TSASAMPL.REPEAT_LOCATION_TYPE_CODE |  | None
33 | Sample Identification | Original Lab Sample Identifier | The unique identifier of the sample that was originally taken and whose result required the current repeat sample to be taken | B_ORIGINAL_LAB_SAMPLE_NUMBER | TSASAMPL.LAB_ASSIGNED_ID_NUMBER | Y (conditionally) | <Sample> <SampleIdentification> <LabSampleIdentifier> | N | Sample Identifier
34 |  | Collected By | sampler name | B_COLLECTOR_NAME | TSASAMPL.INFORMAL_COLLECTOR or TININDIV/TINLGENT.NAME (where TININDIV.COLLECTOR_INDICATOR_CODE = Y) |  | <Sample> <SampleIdentification> <Sampler> <SamplerName> | N | Sampling/Field Entity/Person; Sampling Contact Data Element
35 |  | Sampler Location | sampler location address |  | TINLGENT.ADDR_LINE_ONE_TXT + TINLGENT.ADDR_LINE_TWO_TXT + TINLGENT.ADDRESS_CITY_NAME + TINLGENT.ADDRESS_STATE_CODE + TINLGENT.ADDRESS_ZIP_CODE |  | <Sample> <SampleIdentification> <Sampler> <SamplerLocation> <MailingAddressText> <SupplementalMailingAddressText> <MailingAddressCityName> <MailingAddressStateUSPSCode> <MailingAddressStateName> <MailingAddressCountryName> <MailingAddressZIPCode> | N | Sampling Contact Data Elements
36 |  | Sampler Phone Number | sampler phone number |  | TININDIV.BUS_PHONE_NUM |  | <Sample> <SampleIdentification> <Sampler> <SamplerContactInfo> <TelephoneNumber> <PhoneExtension> | N | Sampling Contact Data Elements
37 |  | Sample Monitoring Type | Sample monitoing type, possible values like ‘Routine’, ‘Repeat’, ‘Confirmation’, ‘Other’, ‘Make-up’, 'Special','Split','Field Blank','Batch Blank','Performance Evaluation' | B_SAMPLE_TYPE | TSASAMPL.TYPE_CODE | Y | <Sample> <SampleIdentification> <SampleType> <TypeOfSample> | N | Sample Type Text | Consider having enumeration list.
38 |  | Lead Copper Sample Type | Lead & Copper sample type in SDWIS-State. Possible values: 'At Source', 'Flushed', 'First Draw','Lead Service Line'. | B_LEAD_COPPER_SAMPLE_TYPE | TSASAMPL.REPEAT_LOCATION_TYPE_CODE TSASAMPL.LD_COP_SAMP_TYP_CD | N | none
39 |  | Sample Purpose | purpose of taking sample. It can be used to indicate whether the sample is for compliance | B_COMPLIANCE_INDICATOR (?) | TSASAMPL.COMPL_PURP_IND_CD |  | <Sample> <SampleIdentification> <SampleReason> | N
40 |  | Sample Collection Method | method used to take the sample | B_SAMPLE_COLLECTION_METHOD | TSASMN.CODE |  | <Sample> <SampleIdentification> <SampleMethod> | N | Sample Collection Method Text
41 |  | Sample Treatment Status | Treatment status of the sample, could be Treated, Not Treated, or Unknown. |  |  |  | <Sample> <SampleIdentification> <SampleStatus> | N |  | Text field or enumeration list: VT: Need more clarification …Indicates if sample has chlorine in it. Sometimes the system chlorinates, and sometimes they forget that they chlorinated. Laurie to doubelcheck with Pat.
42 |  | Sample Receipt Temperature | temperature when lab receives the sample |  |  |  | <Sample> <SampleIdentification> <SampleReceiptTemperature> | N | Receipt Temperature
43 |  | Sample Receipt Temperature Unit of Measure
44 |  | Sample Preservation Method | method used to preserve the sample |  |  |  | <Sample> <SampleIdentification> <SamplePreservation> <PreservationMethod> | N | Sample Chemical Preservation Method
45 |  | Lab Composite Number | number that ties a composite sample to one or more other composite samples | B_LAB_COMPOSITE_NUMBER | TSASAMPL.LAB_ASSIGNED_ID_NUMBER |  | <Sample> <SampleIdentification> <LabSampleCompositeNumber> | N | Composite | AI: need to get better definition before we determine if needed. NJDEP to get back on definition.
46 |  | Lab Composite Date | Date in which the lab composited one or more individual samples. | B_COMPOSITE_DATE | TSASAMPL.COMPOSITE_DATE |  | <Sample> <SampleIdentification> <LabSampleCompositeDate> | N
47 |  | Sample Start Date | sampling starting date |  | TSASAMPL.COLLCTN_START_DT |  | <Sample> <SampleIdentification> <SampleStartDate> | Y | Sample Collection Start Date | ME: capture one sample date, and sample time if holding time is less than or equal to 72 hours.
48 |  | Sample Start Time | sampling starting time |  | TSASAMPL.COLLCTN_START_TIME |  | <Sample> <SampleIdentification> <SampleStartTime> | Y | Sample Collection Start Time
49 |  | Sample End Date | sampling ending date | B_COLLECTION_DATE | TSASAMPL.COLLECTION_END_DATE | Y | <Sample> <SampleIdentification> <SampleEndDate> | N | Sample Collection End Date
50 |  | Sample End Time | sampling ending time | B_COLLECTION_TIME | TSASAMPL.COLLECTION_END_TIME |  | <Sample> <SampleIdentification> <SampleEndTime> | N | Sample Collection End Time
51 |  | Sample Collection Date | date of collecting the sample. For composite sample and Lead & copper, sample end date/time could be different from sample collection date/time | B_COLLECTION_DATE | TSASAMPL.COLLECTION_END_DATE | Y | <Sample> <SampleIdentification> <SampleCollectionDate> | N | Sample Collection End Date
52 |  | Sample Collection Time | time of collecting the sample | B_COLLECTION_TIME | TSASAMPL.COLLECTION_END_TIME |  | <Sample> <SampleIdentification> <SampleCollectionTime> | N | Sample Collection End Time
53 | Laboratory Identification | Submitting Lab ID | The identification of the laboratory that submitted the report | B_STATE_LABORATORY_NUMBER -or- B_FEDERAL_LABORATORY_NUMBER |  |  | <Sample> <LaboratoryIdentification> <LaboratoryName> | N
54 |  | Submitting Lab Name | the name of the laboratory that submitted the report |  |  |  | <Sample> <LaboratoryIdentification> <LaboratoryIdentifier> | Y
55 |  | Submitting Laboratory Phone | The phone number of the submitting lab. |  |  |  | <Sample> <LaboratoryIdentification> <LaboratoryContact> <LaboratoryContactPhoneFaxEmail> <TelephoneNumber> | N
56 |  | Date Laboratory Received | The calendar date the lab receives the sample | B_LAB_RECEIPT_DATE_SAMPLE | TSASAMPL.LABORATORY>RECEIVED_DATE |  | <Sample> <LaboratoryIdentification> <DateSampleReceived> | N | Batch Received Data + Batch Received Time | Date lab received from water system
57 |  | Time Laboratory Received | The local time the lab receives the sample |  |  |  | <Sample> <LaboratoryIdentification> <TimeSampleReceived> | N
58 | Sample Preparation | Sample Preparation Method | Identification of sample preparation method procedures. |  |  |  | <Sample> <SampleIdentification> <SamplePreparation> <SamplePreparationMethod> | N | Sample Preparation Method
59 |  | Sample preparation contact identifier | The name of the person or the organization that prepared the sample |  |  |  | <Sample> <SampleIdentification> <SamplePreparation> <PreparationContactIdentifier> | N
60 |  | Sample Preparation Type | Type of the sample preparation | B_ANALYTE_CODE (SDWIS analyte code) |  | Y | <Sample> <SampleIdentification> <SamplePreparation> <PreparationType> | N
61 |  | Preparation Batch Identifier |  |  |  |  | <Sample> <SampleIdentification> <SamplePreparation> <PreparationBatchIdentifier> | N
62 |  | Preparation Start Date | The starting date that began sample preparation for analysis. | B_CAS_NUMBER |  | Y (conditionally) | <Sample> <SampleIdentification> <SamplePreparation> <PreparationStartDate> | N
63 |  | Preparation Start Time | The starting time that began sample preparation for the analysis |  |  |  | <Sample> <SampleIdentification> <SamplePreparation> <PreparationStartTime> | N
64 |  | Preparation End Date | The ending date that began sample preparation for analysis. |  |  |  | <Sample> <SampleIdentification> <SamplePreparation> <PreparationEndDate> | N
65 |  | Preparation End Time | The ending time that began sample preparation for the analysis |  | TMNALRA.MEASURE ? |  | <Sample> <SampleIdentification> <SamplePreparation> <PreparationEndTime> | N
66 | Laboratory Analysis Identification | LabAnalysisIdentifier | unique sample identifier that the lab assigned to the sample on the bottle. | B_LAB_SAMPLE_NUMBER | TSASAMPL.LAB_ASSIGNED_ID_NUMBER | Y | <Sample> <MonitoringData> <LaboratoryAnalysisIdentification> <LaboratoryAnalysisIdentifer> | N | Laboratry Receipt Sample ID
|  | Analysis Contact Identifier | The name or code for the person to contact concerning information related to the analysis results concerning the preparation of the sample |  |  |  | <MonitoringLocation> <Sample> <MonitoringData> <LaboratoryAnalysisIdentification> <AnalysisContactIdentifier> | N | Analysis Contact Identifier
67 |  | Wet or Dry Basis | field to Indicate how solid samples are reported. Either "Wet" for wet-weight basis or "Dry" for dry-weight basis. |  |  |  | <MonitoringLocation> <Sample> <MonitoringData> <LaboratoryAnalysisIdentification> <WetOrDryBasis> | N | Lab Analytical Wet or Dry Basis | ME: Only required for soil, sediment samples. … Potential work-around is to put this in units.
68 |  | Analysis Final Size | The amount of water used during the laboratory assessment | B_VOLUME_ASSAYED | TSAMAR.ASSAY_UOM_CODE |  | <MonitoringLocation> <Sample> <MonitoringData> <LaboratoryAnalysisIdentification> <AnalysisFinalSize> | N | Analysis Final Size Measure and Analysis Final Size Measure of Units | The amount of water used during the laboratory assessment
69 |  | Analysis Final Size Unit | The measurement unit of the final amount of water used during laboratory assessment |  |  |  | <MonitoringLocation> <Sample> <MonitoringData> <LaboratoryAnalysisIdentification> <AnalysisFinalSizeUnit> | N
70 |  | Date Extracted | The calendar date when extraction began. |  | TSASAR.EXTRACTION_DATE ? |  | <MonitoringLocation> <Sample> <MonitoringData> <LaboratoryAnalysisIdentification> <ExtractionDate> | N | Extraction/Processing Date | Only for certain chemicals. The date extracted is the date when the sample is prepared. VT is open on it.
71 |  | Time Extracted | The time when extraction began. |  | TSASAR.EXTRACTION_TIME ? |  | <MonitoringLocation> <Sample> <MonitoringData> <LaboratoryAnalysisIdentification> <ExtractionTime> | N | Extraction/Processing Time | Leave it or not?
72 | Parameter (Analyte) Identification | Parameter Code | the unique number assigned to the parameter (analyte) | B_ANALYTE_CODE (SDWIS analyte code) | TSAANLYT.CODE |  | <MonitoringData> <ParameterIdentification> <ParameterCode> | Y | Analyte Identifier/Number | EPA Chemical ID, CAS Number as potential options
73 |  | Parameter Code Context | the name of the classification system used to assign a systematic name to a parameter code |  |  |  | <MonitoringData> <ParameterIdentification> <ParameterCodeSystemID> | N | Analyte Identifier Context Name
74 |  | CASNumber | Chemical Abstracts Registry number | B_CAS_NUMBER | TSAANLYT.CAS_REGISTRY_NUMBER | Y (conditionally) | <MonitoringData> <ParameterIdentification> <CASNumber> | N
75 |  | Parameter Name | the name assigned to a chemical, biological or radiological substance or feature that describes it in terms of lts molecular composition, taxonomic nomenclature or other characteristic (e.g. physical measure). |  |  |  | <MonitoringData> <ParameterIdentification> <ParameterName> | Y | Analyte Name | This is going to be an issue: Use Lab Data Standard, CAS, FRDS for standard enumeration list for states.
76 |  | Parameter Name Context | the name of the classification system used to assign a name to a parameter (analyte) |  |  |  | <MonitoringData> <ParameterIdentification> <ParameterNameSystemID> | N | Analyte Name Context Name
77 |  | Maximum Contaminant Level (MCL) | The highest concentration (level) of a contaminant that is allowed in drinking water, as established by the EPA |  | TMNALRA.MEASURE ? |  | <MonitoringData> <ParameterIdentification> <MCL> | N | Detection/Quantitation Level Type + Detection/Quantitation Level Measure +Detection/Quantitation Level Unit of Measurement Name
78 | Sample Analysis Result | Subcontracted Lab | subcontracted lab name or identifier |  |  |  | <Sample> <LabIdentification> <SubContractedLabIdentifier> | N
79 |  | Field Filter Code | The code indicating the type of filtering used in a field preparation. |  |  |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <FilteredSampleIndicator> | N | Sample Collection Filtering Code | Indicates if a sample was filtered in the field.
80 |  | MeasurementQualifier | qualifer for the measurement value, such as less than. | B_LESS_THAN_INDICATOR | TSASAR.LESS_THAN_INDICATOR |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <MeasurementQualifier> | N | Result Qualifier | (1) SDWIS, (2) Fed List (3) Permitting Std.
81 |  | MeasurementUnit | unit of the measurement | B_CONCENTRATION_UNIT_CODE (also B_COUNT_UNITS or B_MEASURE_UNIT_CODE) | TSASAR.UOM_CODE (also TSAMAR.COUNT_UOM_CODE) +TSASSR.UOM_CODE |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <MeasurementUnit> | Y | Result Value Unit of Measure
82 |  | MeasurementValue | actual value of the measurement | B_CONCENTRATION (also B_COUNT or B_MEASURE) | TSASAR.CONCENTRATION_MSR (also TSAMAR.COUNT_QTY) + TSASSR.MEASURE_TEXT TSASSR.MEASURE |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <MeasurementValue> | Y | Result Value
83 |  | Analysis Method | method used to analyse the sample | B_ANALYSIS_METHOD_CODE | TSASMN_CODE | Y (conditionally) | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <AnalysisMethod> | N | Sample Analytical Method
84 |  | Date Completed Analysis | date then completes analyzing the sample | B_ANALYSIS_COMPLETION_DATE | TSASAR.ANALYSIS_COMPLETION_DATE |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <DateAnalyzed> | Y
85 |  | Time Completed Analysis | time that completes analyzing the sample | B_ANALYSIS_COMPLETION_TIME | TSASAR.ANALYSIS_COMPLETION_TIME |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <TimeAnalyzed> | N
86 |  | Method Detection Limit (MDL) | The minimum concentration of a substance (an analyte) that can be measured and reported with 99% confidence that the analyte concentration is greater than zero and is determined from analysis of a sample in a given matrix containing the Analyte | B_LESS_THAN_CODE, B_DETECTION_LEVEL | TSASAR.LESS_THAN_CODE, TSASAR.DETECTION_LIMIT_NUMBER |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <LimitOfDetection> | N |  | Method Detection Limit: different ways of analyzing a parameter. Base on the instrument and the manufacturer's guidance. (Not sure if the lab reports the analysis method, which should go along with this.)
87 |  | Unit of Meaure for Weight, Volume…
88 |  | Analyte Reporting Limit | lowest concentration that can accurately be detected within specified levels by good laboratories during routine operating conditions. | B_LESS_THAN_CODE, B_DETECTION_LEVEL | TSASAR.LESS_THAN_CODE, TSASAR.DETECTION_LIMIT_NUMBER |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <LimitOfQuantification> | N | Analyte Reporting Limit
89 |  | Unit of Meaure for Weight, Volume…
90 |  | Instrument Detection Limit (IDL) | the lowest detection above equipment electronic signal noise, which most likely below MDL. An IDL should be determined for each instrument | B_LESS_THAN_CODE, B_DETECTION_LEVEL | TSASAR.LESS_THAN_CODE, TSASAR.DETECTION_LIMIT_NUMBER |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <LimitOfDetection> | N | Analyte Reporting Limit + analyte Reporting Limit Type | IDL is sometimes required of a lab in a particular QAPP. The IDL tells us the lowest limit the instrument detects while the MDL is a measure of the instrument and the procedure. The IDL is often lower than the MDL since the samples will not have gone through prep steps like extraction.
91 |  | Unit of Meaure for Weight, Volume…
92 |  | Dilution Factor | Dilution ratio used to get sample into method's calibration range. If it is null, then there is no additional dilution to the requirements of the method. If the field has 100, then there was a 1:100 dilution of the sample in addition to any dilution required in the method. |  |  |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <Dilution> | N | Analysis Dilution Factor
93 |  | Comment for Result | The general comments for the analysis results |  | TMNMNR.SAMPLE_COUNT ? |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <ResultComment> <CommentType> <Comments> | N | Lab Analytical Result Comment
94 | QC (will wait for Lab Data Std.) | Data Quality Indicator | Indicator of whether the analytical result meets established data quality criteria. Possible values: A (Accepted), R (Rejected), P (Preliminary), V (Validated) | B_COUNT+B_COUNT_TYPE+ B_COUNT_UNIT | TSAMAR.COUNT_QTY + TSAMAR.COUNT_TYPE + TSAMAR.COUNT_UOM_CODE |  | <Report> <LaboratoryData> <ComplianceInformation> <SampleCollectionSatisfactory> <SampleAnalysisSatisfactory> | N
95 |  | Data Quality Failure Reason | Reason for the analytical result not meeting data quality standard. Possible values: IF (Instrument Failure), LC (Lab Not Certified), LE (Lab Error), OT (Other), RC (Requestor Cancelled), WR (Water System Rejected), etc. | B_COUNT+B_COUNT_TYPE+ B_COUNT_UNIT | TSAMAR.COUNT_QTY + TSAMAR.COUNT_TYPE + TSAMAR.COUNT_UOM_CODE |  | None
96 |  | Approximate % Confidence | Confidence for the result. (Typically for non-targetted compounds) | B_COUNT_QUANTITY | TSASSR.COUNT_QTY |  |  |  |  | In Lab Data Standard, it is defined as part of Analytical Accuracy/Error.
97 |  | Analytical Accuracy | Measures how close the result is to the true measure. For RADS, usually expressed as a value plus/minus the reported measure/unit of measure | B_COUNT+B_COUNT_TYPE+ B_COUNT_UNIT | TSAMAR.COUNT_QTY + TSAMAR.COUNT_TYPE + TSAMAR.COUNT_UOM_CODE |  | <Sample> <MonitoringData> <IndividualMonitoringResult> <IndividualResult> <AnalyticalAccuracy> | N | Analytical Accuracy/Error | (potentiaslly just for QC confirm with EDSC/SDWIS)
98 |  | Counting Error | the counting error estimated by the lab due to some analytical anomaly. Usually expressed as a value plus/minus the reported measure/unit of measure | [6 empty] | (confirm with EDSC/SDWIS)
99 | Derived Data (Will wait for Lab Data Std.) | 90th percentile value | 90th percentle value of the concentration |  |  |  | <MeasurementValue> | Y |  | VT: Ranking and calculation is done by the state system, not from the lab. ME: Would like to receive the 90th percentile
100 |  | Num Samples Required | number of sample required to take | [6 empty] | NJDEP Coliform Analysis Form, header information of routine sample information. Potentially move to other data block: (Report Identification). However, the SDWIS Sampling via EDI may track this at the results level, so it may be best to keep this here. Move to derived data section.
101 |  | Num Samples Taken | actual number of sample that has been taken
102 |  | Num Samples Testing Positive | number of testing samples that have positive values
103 |  | Num Samples Testing Negative | number of testing samples that have negative values
104 |  | Routine and Repeat Samples Taken | number of sample taken for routine and repeat samples
105 |  | Routine and Repeat Samples Testing Positive | number of routine and repeat samples that have positive testing values.

## SDWIS-State
Structure Set | Data Elements | Comments
B_Sample_Sample_Summary | B_RECORD_NAME | elements that are not included in the data elements list.
B_REPORT_TYPE
B_TRANSACTION_NUMBER
B_STATE_SAMPLE_NUMBER
B_FLOW_RATE
B_COMPOSITE_QUARTER
B_FREE_CHLORINE_RESIDUAL
B_TOTAL_CHLORINE_RESIDUAL
B_LAB_SAMPLE_NUMBER
B_WATER_SYSTEM_NUMBER
B_REPLACEMENT_INDICATOR
B_STATE_LABORATORY_NUMBER
B_FEDERAL_LABORATORY_NUMBER
B_WATER_FACILITY_STATE_CODE
B_SAMPLING_POINT
B_SAMPLING_LOCATION
B_SAMPLE_CATEGORY
B_COMPLIANCE_INDICATOR
B_COLLECTION_DATE
B_COLLECTION_TIME
B_SAMPLE_TYPE
B_REPEAT_LOCATION_CODE
B_LAB_RECEIPT_DATE_SAMPLE
B_COLLECTOR_IDENTIFICATION_NUMBER
B_COLLECTOR_NAME
B_SAMPLE_VOLUME
B_LEAD_COPPER_SAMPLE_TYPE
B_SAMPLE_REJECTION_REASON
B_COLLECTION_METHOD_CODE
B_ORIGINAL_LAB_SAMPLE_NUMBER
B_LAB_COMPOSITE_NUMBER
B_COMPOSITE_DATE
B_COMPOSITE_INDICATOR
B_ANALYTE_CODE
B_CAS_NUMBER
B_MONITORING_PERIOD_START_DATE
B_MONITORING_PERIOD_END_DATE
B_ANALYSIS_METHOD_CODE
B_SAMPLE_WATER_TEMPERATURE
B_TEMPERATURE_UNIT_MEASURE
B_TURBIDITY_MEASURE
B_PH_MEASURE
B_RESULT_SUMMARY_RESULT | B_RECORD_NAME | elements that are not included in the data elements list.
B_REPORT_TYPE
B_TRANSACTION_NUMBER
B_MICROBE_PRESENCE_INDICATOR
B_TEST_TYPE
B_LAB_SAMPLE_NUMBER
B_WATER_SYSTEM_NUMBER
B_ANALYTE_CODE
B_CAS_NUMBER
B_ANALYSIS_START_DATE
B_ANALYSIS_START_TIME
B_ANALYSIS_COMPLETION_DATE
B_ANALYSIS_COMPLETION_TIME
B_STATE_NOTIFY_DATE
B_DATA_QUALITY
B_DATA_QUALITY_REASON
B_ANALYSIS_METHOD_CODE
B_MONITORING_PERIOD_START_DATE
B_MONITORING_PERIOD_END_DATE
B_VOLUME_ASSAYED
B_LAB_REJECTION_REASON
B_COUNT
B_COUNT_TYPE
B_COUNT_UNITS
B_LESS_THAN_INDICATOR
B_LESS_THAN_CODE
B_DETECTION_LEVEL
B_DETECTION_LEVEL_UNIT_CODE
B_CONCENTRATION
B_CONCENTRATION_UNIT_CODE
B_REPORTED_MEASURE
B_REPORTED_MEASURE_COUNT_ERROR
B_RESULTS_TYPE
B_COUNT_QUANTITY
B_MEASURE
B_MEASURE_UNIT_CODE